Questionnaire for brokers

The purpose of this document is to provide a list of basic information required by insurers in order to assess the technical viability and risks of Upstream and Renewables projects.

The information should be readily obtainable to provide a quick reference for making an initial project assessment.  Much project assessment time is taken trying to find the basics amongst multiple and lengthy documents.  Not only does this waste time but reduces the time available to examine critical aspects of the project in detail.

A breakdown of values is also requested.  Upstream accounts usually include a Schedule B of values on the slip containing a very basic breakdown of values.  However, Renewables accounts don’t and, very often, only an ECV or total value is provided.  In order to calculate a PML or EML, upon which, for Renewables, the premium is based, the values have to be estimated based on similar projects with a large contingency being added for uncertainties.  Therefore, it is always in the assured’s interests to provide a comprehensive breakdown of values.

In this respect it would be helpful if Renewables slips contained the following information:

Slips:  Nice to haves:

- Schedule B

- An Information section that contains information

- If pricing options are stated, then which pricing option has been chosen and in use?

- A precise description of what is actually covered.  For instance, for construction, is transportation covered?  What components are included in the risk?  A Schedule B would make this clear.  However, without a Schedule B this is an unknown.

Note of OFTO’s:

This document addresses OFTO’s only.  However, different countries have different regimes that take ownership of different parts of the transmission system at different times.  Examples of different regimes are as follows and their specific requirements need to be examined to ensure statutory obligations are met in any particular country:

OFTO and CATO:	OFshore Transmission Operator and Competitively Appointed Transmission 	UK

Owner CATO is an onshore version of the OFTO.  It is similar to the TSO in

scope and operation.

TSO:			Transmission System Operator							Europe

ISO and RTO:		Independent System Operator and Regional Transmission Organisation:		USA

OFTO:			OFshore Transmission Owner.  TSO and ISO terms also used			Asia

Abbreviations:

- BESS		Battery Energy Storage System

- BoP		Balance of Plant

- CATO		Competitively Appointed Transmission Owner

- COD		Commercial Operating Date

- CPS		Cable Protection System

- DAS		Distributed Acoustic Sensing

- DoB:		Depth of Burial

- DSS		Distributed Strain Sensing

- DTS		Distributed Temperature Sensing

- EML		Estimated Maximum Loss

- EPC		Engineering, Procurement and Construction

- EPIC		Engineering, Procurement, Installation and Construction

- HTF		Heat Transfer Fluid

- HVAC		High Voltage Alternating Current

- HVDC		High Voltage Direct Current

- IAC		Inter Array Cables

- ISO		Independent System Operator

- LCO		Lithium Cobalt Oxide

- LFP		Lithium Iron Phosphate

- Li-ion		Lithium-ion battery

- LTSA		Long Term Service Agreement

- MW		Mega Watts

- NAC		New American Concept typically refering to lithium-ion battery packs (18V, 20V, or 40V)

- NMC		Nickel Manganese Cobalt

- OFTO		OFfshore Transmission Operator

- ONS		Onshore SubStation

- OSS		Offshore SubStation

- PML		Probable Maximum Loss

- PV		Photo Voltaic

- RTO		Regional Transmission Organisation

- SCADA		Supervisory Control and Data Acquisition

- TSO		Transmission System Operator

- WTG		Wind Turbine Generator

Operational

Wind – Offshore Fixed (to be amended for OFTO’s) - Operational

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the wind farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Each individual WTG |  |
|  | - Offshore substation |  |
|  | - Landfall |  |
|  | - Onshore substation |  |
| 5. | Water depth |  |
| 6. | Distance offshore |  |
| 7. | Details of the WTG’s: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
| 8. | Details of the components of the facility: |  |
|  | - IAC cables and capacity |  |
|  | - Export cable (distance: subsea and land and DoB Depth of Burial) |  |
|  | - Offshore substation details |  |
|  | - Onshore substation details |  |
|  | - Grid connection; |  |
|  | - Electrical system: HVAC or HVDC? |  |
|  | - Detail cable monitoring systems (DTS, DAS, DSS etc.) |  |
| 9. | Schedule; date construction started, first power and Commercial Operating Date (COD) |  |
| 10. | Ownership, shareholders and company structure |  |
| 12. | Claims or incidents |  |
| 13. | LTSA and Warranties |  |
| 14. | Spares, both the policy and actual spares |  |
| 15. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the WTG’s |  |
|  | - Value of the foundations |  |
|  | - Value of the inter array cables to offshore substation |  |
|  | - Value of the offshore substation (with value of transformer(s) stated separately) |  |
|  | - Value of the export cable from substation to landfall |  |
|  | - Value of export cable from landfall to onshore substation |  |
|  | - Value of control room, control equipment and SCADA monitoring assets |  |
|  | - Value of transmission and distribution assets, if applicable |  |
|  | - Value of the infrastructure (roads, fencing, security) |  |
|  | - Value of met. Tower(s) |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Note:  While all items above apply to the whole wind farm as built, once the wind farm is handed over to the OFTO the:

    - Black denotes items that are the responsibility of the wind farm operator

and

    - Red denotes items that are/will be the responsibility of the OFTO.

Wind – Offshore Floating (to be amended for OFTO’s) - Operational

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the wind farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Each individual WTG |  |
|  | - Offshore substation |  |
|  | - Landfall |  |
|  | - Onshore substation |  |
| 5. | Water depth |  |
| 6. | Distance offshore |  |
| 7. | Details of the WTG’s: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
| 8. | Details of the components of the facility: |  |
|  | - IAC cables and capacity |  |
|  | - Export cable details (distance subsea and land) |  |
|  | - Offshore substation details |  |
|  | - Onshore substation details |  |
|  | - Grid connection |  |
|  | - Electrical system: HVAC or HVDC? |  |
|  | - Detail cable monitoring systems (DTS, DAS, DSS etc.) |  |
|  | - Hull arrangements; type of hull, general arrangement or diagram showing compartments, ballasting details, draughts, |  |
|  | - Mooring arrangement: type, number of lines, size and capacity |  |
|  | - Dynamic cable: cable configuration, connection/disconnection system, contingencies and storage |  |
| 9. | Schedule; date construction started, first power and Commercial Operating Date (COD) |  |
| 10. | Ownership, shareholders and company structure |  |
| 11. | List of contractors and suppliers |  |
| 12. | Risk surveys and inspection surveys since COD |  |
| 12. | Claims or incidents |  |
| 13. | LTSA and Warranties |  |
| 14. | Spares, both the policy and actual spares |  |
| 15. | Values (overall contract and breakdown) as follows: |  |
|  | - Overall contract value and a breakdown as follows: |  |
|  | - Value of the WTG’s |  |
|  | - Value of hull with or without WTG |  |
|  | - Value of the moorings (and anchors ) |  |
|  | - Value of the inter array cables to offshore substation |  |
|  | - Value of the offshore substation (with value of transformer(s) stated separately) |  |
|  | - Value of the export cable from substation to landfall |  |
|  | - Value of export cable from landfall to onshore substation |  |
|  | - Value of control room, control equipment and SCADA monitoring assets |  |
|  | - Value of transmission and distribution assets, if applicable |  |
|  | - Value of the infrastructure (roads, fencing, security) |  |
|  | - Value of met. Tower(s) |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Note:  While all items above apply to the whole wind farm as built, once the wind farm is handed over to the OFTO the:

    - Black denotes items that are the responsibility of the wind farm operator

and

    - Red denotes items that are/will be the responsibility of the OFTO.

Wind – Onshore - Operational

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the wind farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Each individual WTG |  |
|  | - Substation |  |
| 5. | Details of the WTG’s: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
| 6. | Details of the components of the facility: |  |
|  | - Inter field cables and capacity |  |
|  | - Substation details |  |
|  | - Detail cable monitoring systems (DTS, DAS, DSS etc.) |  |
|  | - Grid connection: distance over/underground |  |
|  | - Facility boundary |  |
| 7. | Schedule; date construction started, first power and Commercial Operating Date (COD) |  |
| 8. | Ownership, shareholders and company structure |  |
| 9. | Claims or incidents |  |
| 10. | LTSA and Warranties |  |
| 11. | Spares, both the policy and actual spares |  |
| 12. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the WTG’s |  |
|  | - Value of the foundations |  |
|  | - Value of the inter field cables to substation |  |
|  | - Value of the substation (with value of transformer(s), switchgear, inverters stated separately) |  |
|  | - Value of control room, control equipment and SCADA monitoring assets |  |
|  | - Value of transmission and distribution assets, if applicable |  |
|  | - Value of the infrastructure (roads, fencing, security) |  |
|  | - Value of met. tower(s) |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Solar PV - Operational

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the solar farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Substation |  |
| 5. | Details of the PV modules: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
|  | - Arrangement of field; cells/modules/panels/loops |  |
|  | - Panel Description (Mono, Bi, Thinfilm, Crystalline) |  |
|  | - Configuration (1P, 2P) |  |
| 6. | Tracker (if applicable) |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Max tilt |  |
|  | - Active / Passive stow |  |
|  | - Racking type |  |
| 6. | Details of the components of the facility: |  |
|  | - Inverters; Central, string, number and type |  |
|  | - Transformers; number and type |  |
|  | - Lightning protection fitted |  |
|  | - Backup power |  |
| 7. | Foundation |  |
|  | - Foundation type |  |
|  | - Geoctechnical study |  |
| 8. | Nat. cat. |  |
|  | - Hail study (if applicable) : IEC 61215, 61646 |  |
|  | - Flood risk study |  |
|  | - Wind study (building code & design wind speed) |  |
| 7. | Security: Active and passive security |  |
| 8. | Vegetation management |  |
| 9. | Schedule; date construction started, first power and COD |  |
| 10. | Ownership, shareholders and company structure |  |
| 11. | Claims or incidents |  |
| 12. | LTSA and Warranties |  |
| 13. | Spares, both the policy and actual spares |  |
| 14. | Values (overall contract and breakdown) as follows: |  |
|  | - Racking |  |
|  | - Foundations |  |
|  | - Cabling |  |
|  | - Inverters and trackers |  |
|  | - Generators |  |
|  | - Substation (with separate values for switchgear, and transformers) |  |
|  | - Computer monitoring and SCADA equipment |  |
|  | - Operations building |  |
|  | - Transmission and distribution assets, if applicable |  |
|  | - Infrastructure (roads, fencing, security) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Solar CSP - Operational

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the solar farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Substation |  |
| 5. | Details of the CSP components: |  |
|  | - Irradience collection (trough, tower) |  |
|  | - Power generation; turbines, generators |  |
|  | - Tracking system |  |
|  | - Heat exchanger |  |
|  | - HTF (Heat Transfer Fluid) used |  |
|  | - Fluid delivery system |  |
|  | - Transformers; number and type |  |
|  | - Storage (if applicable) |  |
|  | - Lightning protection fitted |  |
|  | - Description of firefighting and fire prevention system stating capacity of tanks for water and foam |  |
| 6. | Security: Active and passive security |  |
| 7. | Vegetation management |  |
| 8. | Schedule; date construction started, first power and COD |  |
| 9. | Ownership, shareholders and company structure |  |
| 10. | Claims or incidents |  |
| 11. | LTSA and Warranties |  |
| 12. | Spares, both the policy and actual spares |  |
| 13. | Values (overall contract and breakdown) as follows: |  |
|  | - Solar field: Parabolic collectors |  |
|  | Racking |  |
|  | Foundations |  |
|  | Cabling |  |
|  | Tracker |  |
|  | - HTF (Heat Transfer Fluid) |  |
|  | - Heat exchanger |  |
|  | - Fluid delivery system |  |
|  | - Generators |  |
|  | - Substation (with separate values for switchgear, and transformers) |  |
|  | - Computer monitoring and SCADA equipment |  |
|  | - Operations building |  |
|  | - Transmission and distribution assets, if applicable |  |
|  | - Infrastructure (roads, fencing, security) |  |
|  | - BoP (Balance of Plant) |  |
|  | - Salt storage system (if applicable) |  |
|  | - BESS units (if applicable) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

BESS (Battery Energy Storage System) - Operational

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the BESS facilities |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility MW |  |
|  | Latitude and Longitude of the BESS units |  |
|  | Number and arrangement of BESS units (including spacing, internal fire prevention arrangements and battery type) |  |
| 4. | BESS units: |  |
|  | - Details of BESS manufacturer and model |  |
|  | - Details of battery cell manufacturer and model |  |
|  | - State battery type (LFP, NMC, NAC, LCO if non Li-Ion technology state the details) and capacity (Ah) |  |
|  | - State form factor (prismatic, pouch, cylindrical) |  |
|  | - Internal arrangement (number of racks/units per enclosure, control cabinet, HVAC location) |  |
|  | - Description of thermal management system (liquid or air cooled, leak detection, etc) |  |
|  | - Description of battery management system |  |
|  | - Description of fire detection and suppression system (if water or foam is used, what is the capacity of the tanks) |  |
|  | - Description of explosion prevention design (active or passive ventilation) |  |
|  | - Standards and Certifications: |  |
|  | - Result of UL 9540A tests at a cell, module, and unit level |  |
|  | - Results of a large scale fire test (LSFT) and testing standard used (CSA C800, etc) |  |
|  | - State compliance with NFPA 855 |  |
|  | - State compliance with NFPA 68 or 69 |  |
|  | - Confirmation of system level certificate to UL 9540 or IEC 62933-5-2 |  |
| 5. | Description of emergency response plan and distance from local fire department services |  |
| 6. | Description of cabling |  |
| 7. | Schedule; date construction started, first power and COD |  |
| 8. | Ownership, shareholders and company structure |  |
| 9. | Claims or incidents |  |
| 10. | LTSA and Warranties |  |
| 11. | Spares, both the policy and actual spares |  |
| 12. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the each BESS unit |  |
|  | - Value of the cabling |  |
|  | - Value of the infrastructure: Fencing |  |
|  | Roads |  |
|  | Foundation pads |  |
|  | - Value of switchyard, if part of the BESS facility |  |
|  | - Value of network interconnection system |  |
|  | - Value of main power transformer |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Construction

Wind – Offshore - Construction

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the wind farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility MW |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Each individual WTG |  |
|  | - Offshore substation |  |
|  | - Landfall |  |
|  | - Onshore substation |  |
| 5. | Water depth |  |
| 6. | Distance offshore |  |
| 7. | Details of the WTG’s: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
|  | - Wind Turbine Type Certificate |  |
|  | - Type of foundation |  |
| 8. | Details of the components of the facility: |  |
|  | - IAC cables and capacity, CPS |  |
|  | - Export cable details (distance subsea and land) |  |
|  | - Offshore substation details |  |
|  | - Onshore substation details |  |
|  | - Grid connection; |  |
|  | - Electrical system: HVAC or HVDC? |  |
|  | - Detail cable monitoring systems (DTS, DAS, DSS etc.) |  |
| 9. | Main contractors: EPC/EPIC/Turnkey |  |
| 10. | Main subcontractor(s) |  |
| 11. | Location of main suppliers |  |
| 12. | Transportation arrangements; fabrication location, distance from site, mode of transport, period of transportation (duration and time of year) |  |
| 13. | Loadoff and transportation at destination |  |
| 14. | Sit storage; arrangements (warehouse, open, ground conditions), duration |  |
| 15. | Construction arrangements: Surveying, seabed clearance, jackets or monopiles installation and scour protection, WTG installation, cable installation, OSS topside installation, craneage, vessel arrangements, environmental restrictions, grid connection, commissioning |  |
| 16. | Schedule; planned construction dates; start to COD |  |
| 17. | Ownership, shareholders and company structure |  |
| 18. | Claims or incidents |  |
| 19. | LTSA (if applicable at this stage) and Warranties |  |
| 20. | Spares, both the policy and actual spares |  |
| 21. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the WTG’s |  |
|  | - Value of the foundations |  |
|  | - Value of the inter array cables to offshore substation |  |
|  | - Value of the OSS (transformer(s) value stated separately) |  |
|  | - Value of the export cable from substation to landfall |  |
|  | - Value of export cable from landfall to onshore substation |  |
|  | - Value of control room and equipment and SCADA system |  |
|  | - Value of transmission and distribution assets, if applicable |  |
|  | - Value of the infrastructure (roads, fencing, security) |  |
|  | - Value of met. Tower(s) |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Wind – Offshore Floating - Construction

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the wind farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Each individual WTG |  |
|  | - Offshore substation |  |
|  | - Landfall |  |
|  | - Onshore substation |  |
| 5. | Water depth |  |
| 6. | Distance offshore |  |
| 7. | Details of the WTG’s: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number of WTG’s |  |
| 8. | Details of the components of the facility: |  |
|  | - IAC cables and capacity |  |
|  | - Export cable details (distance subsea and land) |  |
|  | - Offshore substation details |  |
|  | - Onshore substation details |  |
|  | - Grid connection |  |
|  | - Export cable details (distance subsea and land) |  |
|  | - Hull arrangements; type of hull, general arrangement or diagram showing compartments, ballasting details, draughts, |  |
|  | - Mooring arrangement: type, number of lines, size and capacity |  |
|  | - Dynamic cable details (type of riser configuration, connection/disconnection details, contingencies and storage |  |
| 9. | Main contractors: EPC/EPIC/Turnkey |  |
| 10. | Main subcontractor(s) |  |
| 11. | Location of main suppliers |  |
| 12. | Transportation/towage arrangements; fabrication location, distance from site, mode of transport/towage, period of transportation/towage (duration and time of year) |  |
| 13. | Loadoff and transportation at destination |  |
| 14. | Storage on site; arrangements (warehouse, open, ground conditions), duration |  |
| 15. | Construction arrangements: surveying, seabed clearance, jackets or monopiles, cable installation, craneage, environmental restrictions, grid connection, commissioning |  |
| 16. | Schedule; planned construction dates; start to COD |  |
| 17. | Ownership, shareholders and company structure |  |
| 18. | Claims or incidents |  |
| 19. | Warranties |  |
| 20. | Spares, both the policy and actual spares |  |
| 21. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the WTG’s |  |
|  | - Value of hull with or without WTG |  |
|  | - Value of the moorings (and anchors ) |  |
|  | - Value of the inter array cables to offshore substation |  |
|  | - Value of the offshore substation (with value of transformer(s) stated separately) |  |
|  | - Value of the export cable from substation to landfall (including dynamic cable) |  |
|  | - Value of export cable from landfall to onshore substation |  |
|  | - Value of control room, control equipment and SCADA monitoring assets |  |
|  | - Value of transmission and distribution assets, if applicable |  |
|  | - Value of the infrastructure (roads, fencing, security) |  |
|  | - Value of met. Tower(s) |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Wind – Onshore - Construction

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the wind farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Each individual WTG |  |
|  | - Substation |  |
| 5. | Details of the WTG’s: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
| 6. | Details of the components of the facility: |  |
|  | - Inter field cables and capacity |  |
|  | - Substation details |  |
|  | - Grid connection: distance over/underground |  |
|  | - Facility boundary |  |
| 7. | Main contractors: EPC/EPIC/Turnkey |  |
| 8. | Main subcontractor(s) |  |
| 9. | Location of main suppliers |  |
| 10. | Transportation arrangements; fabrication location, distance from site, mode of transport, period of transportation (duration and time of year) |  |
| 11 | Loadoff and transportation at destination |  |
| 12. | Storage on site; arrangements (warehouse, open, ground conditions), duration |  |
| 13. | Construction arrangements: surveying, foundations, cable installation, craneage, environmental restrictions, grid connection, commissioning |  |
| 14. | Schedule; planned construction dates; start to COD |  |
| 15. | Ownership, shareholders and company structure |  |
| 16. | Claims or incidents |  |
| 17. | LTSA (if applicable at this stage) and Warranties |  |
| 18. | Spares, both the policy and actual spares |  |
| 19. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the WTG’s |  |
|  | - Value of the foundations |  |
|  | - Value of the inter field cables to substation |  |
|  | - Value of the substation (with value of transformer(s), switchgear, inverters stated separately) |  |
|  | - Value of control room, control equipment and SCADA monitoring assets |  |
|  | - Value of transmission and distribution assets, if applicable |  |
|  | - Value of the infrastructure (roads, fencing, security) |  |
|  | - Value of met. tower(s) |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Solar PV - Construction

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the solar farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Substation |  |
| 5. | Details of the PV modules: |  |
|  | - Manufacturer |  |
|  | - Model |  |
|  | - Number |  |
|  | - Arrangement of field; cells/modules/panels/loops |  |
| 6. | Details of the components of the facility: |  |
|  | - Inverters; number and type |  |
|  | - Transformers; number and type |  |
|  | - Lightning protection fitted |  |
| 7. | Main contractors: EPC/EPIC/Turnkey |  |
| 8. | Main subcontractor(s) |  |
| 9. | Location of main suppliers |  |
| 10. | Transportation arrangements; fabrication location, distance from site, mode of transport, period of transportation (duration and time of year) |  |
| 11. | Loadoff and transportation at destination |  |
| 12. | Storage on site; arrangements (warehouse, open, ground conditions), duration |  |
| 13. | Construction arrangements: surveying, foundations, tracking and inverters, cable installation, craneage, environmental restrictions, grid connection, commissioning |  |
| 14. | Security: Active and passive security |  |
| 15. | Vegetation management |  |
| 16. | Schedule; planned construction dates; start to COD |  |
| 17. | Ownership, shareholders and company structure |  |
| 18. | Claims or incidents |  |
| 19. | LTSA (if applicable at this stage) and Warranties |  |
| 20. | Spares, both the policy and actual spares |  |
| 21. | Values (overall contract and breakdown) as follows: |  |
|  | - Racking |  |
|  | - Foundations |  |
|  | - Cabling |  |
|  | - Inverters and trackers |  |
|  | - Generators |  |
|  | - Substation (with separate values for switchgear, and transformers) |  |
|  | - Computer monitoring and SCADA equipment |  |
|  | - Operations building |  |
|  | - Transmission and distribution assets, if applicable |  |
|  | - Infrastructure (roads, fencing, security) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

Solar CSP - Construction

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the solar farm(s) |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
| 4. | Latitudes and Longitudes: |  |
|  | - Geometric centre |  |
|  | - Substation |  |
| 5. | Details of the CSP components: |  |
|  | - Power generation; turbines, generators |  |
|  | - HTF (Heat Transfer Fluid) used |  |
|  | - Transformers; number and type |  |
|  | - Storage (if applicable) |  |
|  | - Lightning protection fitted |  |
|  | - Description of firefighting and fire prevention system stating capacity of tanks for water and foam |  |
| 6. | Main contractors: EPC/EPIC/Turnkey |  |
| 7. | Main subcontractor(s) |  |
| 8. | Location of main suppliers |  |
| 9. | Transportation arrangements; fabrication location, distance from site, mode of transport, period of transportation (duration and time of year) |  |
| 10. | Loadoff and transportation at destination |  |
| 11. | Storage on site; arrangements (warehouse, open, ground conditions), duration |  |
| 12 | Construction arrangements: surveying, foundations, cable installation, craneage, environmental restrictions, grid connection, commissioning |  |
| 13. | Security: Active and passive security |  |
| 14. | Vegetation management |  |
| 15. | Schedule; planned construction dates; start to COD |  |
| 16. | Ownership, shareholders and company structure |  |
| 17. | Claims or incidents |  |
| 18. | LTSA (if applicable at this stage) and Warranties |  |
| 19. | Spares, both the policy and actual spares |  |
| 20. | Values (overall contract and breakdown) as follows: |  |
|  | - Solar field: Parabolic collectors |  |
|  | Racking |  |
|  | Foundations |  |
|  | Cabling |  |
|  | - HTF (Heat Transfer Fluid) |  |
|  | - Generators |  |
|  | - Substation (with separate values for switchgear, and transformers) |  |
|  | - Computer monitoring and SCADA equipment |  |
|  | - Operations building |  |
|  | - Transmission and distribution assets, if applicable |  |
|  | - Infrastructure (roads, fencing, security) |  |
|  | - BoP (Balance of Plant) |  |
|  | - Salt storage system (if applicable) |  |
|  | - BESS units (if applicable) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.

BESS (Battery Energy Storage System) - Construction

|  | Item | Response |
| --- | --- | --- |
| 1. | Name of the BESS facilities |  |
| 2. | One paragraph describing the project; what it is, where it is located, what it’s for, background, why this arrangement, the concept, anything else of interest. Sufficient to get an immediate feel for what is being presented. |  |
| 3. | Capacity of the facility (MW) |  |
|  | Latitude and Longitude of the BESS units |  |
|  | Number and arrangement of BESS units (including spacing, internal fire prevention arrangements and battery type) |  |
| 4. | BESS units: |  |
|  | - Details of manufacturer |  |
|  | - State battery type |  |
|  | - State form factor (prismatic, pouch, cylindrical) |  |
|  | - Internal arrangement (including type of cooling system) |  |
|  | - Description of battery management system |  |
|  | - Description of firefighting and fire prevention system stating capacity of tanks for water and foam |  |
|  | - Description of air conditioning system |  |
| 5. | Main contractors: EPC/EPIC/Turnkey |  |
| 6. | Main subcontractor(s) |  |
| 7. | Location of main suppliers |  |
| 8. | Transportation arrangements; fabrication location, distance from site, mode of transport, period of transportation (duration and time of year) |  |
| 9. | Loadoff and transportation at destination |  |
| 10. | Storage on site; arrangements (warehouse, open, ground conditions), duration |  |
| 11. | Construction arrangements: surveying, foundations, cable installation, craneage, environmental restrictions, grid connection, commissioning |  |
| 12. | Description of cabling |  |
| 13. | Schedule; planned construction dates; start to COD |  |
| 14. | Ownership, shareholders and company structure |  |
| 15. | Claims or incidents |  |
| 16. | LTSA (if applicable at this stage) and Warranties |  |
| 17. | Spares, both the policy and actual spares |  |
| 18. | Values (overall contract and breakdown) as follows: |  |
|  | - Value of the each BESS unit |  |
|  | - Value of the cabling |  |
|  | - Value of the infrastructure: Fencing |  |
|  | Roads |  |
|  | Foundation pads |  |
|  | - Value of switchyard, if part of the BESS facility |  |
|  | - Value of network interconnection system |  |
|  | - Value of main power transformer |  |
|  | - Value of BoP (Balance of Plant) |  |

While it is recognised that not all sites have all the above components a reasonable breakdown is expected.  This helps to calculate an accurate PML and EML thus avoiding an overly conservative loss estimate which is likely to detrimentally affect our offer.