GAS TURBINE QUESTIONNAIRE

DISCLAIMER: Nothing in this Questionnaire shall relieve any party of any legal obligations existing in the absence of this document and nothing contained in this Questionnaire shall take precedence over any provisions of any policy issued by a party who has chosen to use this Questionnaire.

This document has been produced by the LMA/IUA Joint Power Generation Committee (JPGC) and the European Power Committee (EPC).

| Gas turbine type: |  |
| --- | --- |
| OEM version: |  |
| ISO rating: |  |
| COD: |  |
| Country of Manufacture (CoM) |  |

It is imperative that the surveyor knows the issues for the gas turbine in question.

Note: these bullet points are not detailed and users need to read into the question and not just answer yes/no i.e. Do you perform inspections as per OEM guidelines, it is not uncommon for owners to deviate justifiably, thus needs to be highlighted, as to what and why.

Performance/Design

  - Have there been any upgrades/uprates. If yes what/when?

  - Hours/starts/trips per year (OH, EOH/AOH dependent on type) and since last HGP/MI. FOR/SOP or POR.

  - Air filter arrangement and types of filters.

  - Do you have an evaporative cooler, fogging system, chiller and/or an air pre heater (type).

  - Fuel type (% , NG/LNG, H, coal gas, BFG, LFO, HFO).

- Fuel supply.

- Modes of despatch (electrical power and heat).

  - Hours/starts since last inspection/HGPI/MI.

  - Please provide an overview of trip RCAs.

  - How many hours on turning gear/month?

  - What is the turning gear speed?

  - Is it on constant turning gear for fast start up when not operating?

  - Do measure turning gear motor current or hydraulic pressure?

  - Do you measure run down time to turning gear start?

  - Do you use a dehumidifier/shut off during unit shutdowns?

  - Do you have a performance monitoring system? In house, 3rd party or OEM.

  - What is the service providers response time on this performance system?

  - Do you keep a service bulletin register? Do you manage it with acceptance and actions? Please provide register.

  - Where there are dual gas/liquid fuels for full load auto change-over how often is this tested?

  - Have you ever modified the DC emergency system?

  - Does the DC lube oil pump bypass the lube oil filter?

  - Does the DC lube oil pump have a thermal overload protection: Alarm or trip of the pump?

  - How often do you check pressure and speed of the DC lube oil pump?

- What vibration monitoring do you have? Does the system trip the plant (alarm/trip settings)? Is the vibration within ISO condition A?

  - Is the vibration monitored remotely by the service provider?

  - Do you perform any phase/spectral analysis say on run downs or start ups?

  - Are there any known issues with vibration?

  - What is the normal operating regime, base load, daily cycling, peaking, weekly cycling?

  - What type of combustors are installed?

  - What variation of control system are installed?

  - Fuel quality management – is there automatic runback if wobbe index increases?

  - DC/AC lube oil cable fire rating/separate routes – common mode of failure.

  - IP rating of lube oil pump motors.

  - LEL settings within enclosures.

  - Do service bulletins go through MoC, if not how are they assessed?

  - Do you participate in user group meetings or any other forums?

  - What preservation is there when not in service?

  - Any Technical issues/losses in last 5years?

Inspections/Testing/Maintenance

Gas Turbine inspections and testing:

- Analysis of Vibration Readings 		1/m

- Borescope inspection (Hot Gas Path) 	1/a

- Fuel combustion safety controls 		1/a

- DC/AC lube oil pump testing 		1/Q

- Oil analysis (lube- and hydraulic oil) 	1/Q

- Thermographic Imaging 			1/a

- Status of overdue inspections.

- Inspection program evaluation.

- Over speed trip devices for gas turbines.

- Programs for vibration analysis, oil analysis (gear boxes, lubrication oil, hydraulic oil).

- Plant ESD systems (hard wired) and testing of ESD system.

- Online operational Monitoring.

- Do you perform inspections as per OEM guidelines?

Please provide history with date/hours/starts at the various inspections.

Please provide HGPI/MI report which ever was last.

  - Do you perform an annual BI of the compressor, combustor and turbine?

  - Who performs the inspections/outages?

  - Do you have an LTSA? What are the warranty provisions?

  - Please provide the prices for HGP parts retained in the LTSA.

  - Are spare rotors held on-site, nearby or are readily available under a LTSA?

  - Do you have and use a clean condition procedure?

  - Do you perform an air filter house light/walk out inspection after maintenance?

  - Do you review your inspection reports from the OEM/3rd party?	How do you QA/QC this?

  - What is the routine testing regime on the batteries and UPS, how frequently are batteries replaced and how frequently is the changeover tested on the UPS and how often is the UPS load-tested?

  - What is the routine and load-testing testing regime on the Emergency Diesel Generator (EDG)?

  - Has it been tested or operated in anger by loss of grid connection? Was it successful?

  - Are all the spares OEM? If not please specify which are not and who the supplier is?

  - Do you maintain a register of parts with hours/starts for each engine?

  - Do you have pooled HGP parts/or do you own your own?

  - Do you perform an enclosure air tightness test after any enclosure panels are removed?	Method

  - Do you perform an annual overspeed test? Physical or simulated (does it work the solenoid valves)? 	Method.

  - Does the GT have an online test sequencer for the o/s trip system? Is it automated?

  - Is the DC lube oil pump motor hardwired without involvement of the control system or any motor overload system? Do you test the emergency DC lube oil pump, checking the pressure switch activates the motor and pump pressure?

  - Do you record motor current when testing pumps?

- How frequently do you analyse your lube in an external lab? What actual tests are performed and do they include metal analysis?  Are there any known issues with the oil? Have you ever filtered the oil?

  - Do you use a scheduled computerised maintenance system, with follow-up for overdue items?

  - What maintenance back log do you have?

  - Is all other equipment, maintained in accordance with manufacturer’s recommendations?

  - Are all other items of auxiliary machinery categorised according to criticality/redundancy and vibration analysis conducted using portable hand-held system?

Human Element

  - Handling of technical emergency situations (failure of process critical equipment), such as loss of DCS, EDG not starting, GCB failure. Do you have SOPs, EOPs and do you desk top practice?

  - Is there anything which we haven't asked which you feel is important for insurers to be aware which could be material, should a claim occur?